MAMMOTH MTN. MET STATION

# Sensor Change/Maintenance Information

NOTE: Please document changes relating to sensors, including, but not limited to, installation, movement from one location or height to another, calibration, or retirement.  When finished, save file as YYYY-MM-DD (eg., 1999-09-17)

## Sensor Identification Information

| Type of Sensor: | Snow depth | Description: |  |
| --- | --- | --- | --- |
| Manufacturer: | Judd | Owner: | CRREL |
| Model: |  | Property ID: | CRREL 28669? |
| Serial ID: |  | Purchase Date: |  |
| Nickname: | Platform snow depth | Grant: | CRREL |
| Comments: |  |

## Sensor Change/Maintenance Information

| Date: | 2000-02-08 |
| --- | --- |
| Person/Organization: | rick |
| Description*: | Old snow depth sensor removed, new one installed, active by 0915 pst |

* If sensor calibrated, include slope, offset and drift.  If sensor moved, include position (eg. north of bunker) and height.

Additional Notes:

Old sensor CRREL # 33112