MAMMOTH MTN. MET STATION

# Sensor Change/Maintenance Information

NOTE: Please document changes relating to sensors, including, but not limited to, installation, movement from one location or height to another, calibration, or retirement.  When finished, save file as YYYY-MM-DD (eg., 1999-09-17)

## Sensor Identification Information

| Type of Sensor: | Snow depth | Description: |  |
| --- | --- | --- | --- |
| Manufacturer: | Judd | Owner: | CRREL |
| Model: | Snow depth | Property ID: | Same as before |
| Serial ID: | NA | Purchase Date: |  |
| Nickname: | Platform boom | Grant: |  |
| Comments: |  |

## Sensor Change/Maintenance Information

| Date: | 26-27 APR 2000 |
| --- | --- |
| Person/Organization: | Bert Davis |
| Description*: | Changed mounting bracket, now 2.5 cm lower. |

* If sensor calibrated, include slope, offset and drift.  If sensor moved, include position (eg. north of bunker) and height.

Additional Notes: