MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | Feb 26, 2001 |
| --- | --- |
| Time: | 1200 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Obscured, snowing lightly |
| --- | --- |
| Wind: | 2m/s, SW |
| Temp: | -7C |
| Snow Depth: | 260 |
| Rime? (Y or N): | Y |

NOTES: Riming on all instruments- radiometers ok, shadowband radiometer is icing.

North Board:38, 5.1

Digi board: 48, 6.6

East Board: 38, 5.0

Reset snow fences, dug out digi board wire