MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2001-03-12 |
| --- | --- |
| Time: | 1200h |
| Name: | Tom Painter/Sue Burak |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | 2 m/s, SE |
| Temp: | -4C |
| Snow Depth: | 310 |
| Rime? (Y or N): | N |

NOTES:

Cleaned and reset snowboards

North Board: 17,3.0

Digital board: 29, 4.8

East Board: 30, 5.4

Turned depth sensors for Wind Mast, Platform, Digital Snow Board to continuous run cycle.  Rewired – reported in Sensor Change Report.

Adjusted shadowband (0 declination – appears that we need to adjust height of pyranometer again to be commensurate with declination markings.)