MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 09/02/01 |
| --- | --- |
| Time: | 1520 DST |
| Name: | Bryan Harrington |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | Calm |
| Temp: | 16.5 |
| Snow Depth: | 0 |
| Rime? (Y or N): | N |

NOTES:

Downloaded the DCF file into an Excel spread sheet that I worked on last night. Gathering more DCF data, stopped around 1220 hrs. DST. Changed the DCF program to start gathering the thermistor voltage data.

Built more WIRE DIAGRAMS for the logbook, Belfort Rain Gauge, Snow Pillow_1 and Soil Moisture.

Snow Pillow_1 is the round one. I’ve changed the power supply to the HP 6236B Triple Output Power Supply, its output is +10 VDC w/.1 A.

I don’t know what the problem is with the soil moisture probes at this point. They do not get turned on. Took one of the control port and attached it to +12 vdc.

Cleared the storage module so the Snowmon data logger could use it.

System programs are stored in the storage module. Storage location 1 will have M090201.dld (CR7_2), location 2 will have MAMWINDS.dld (CR7_1) and location 8 will have the DCF.DLD (21X). The DCF file is the program that’s monitoring the Snowmon system and takes data when the Reference Detector has received 10,000 counts.

Looks like that snow pillow II has been hurt. It had been working. It’s output now is 5.042 way over range.