MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2001-12-07 |
| --- | --- |
| Time: | 1040 |
| Name: | Bert Davis |

# CONDITIONS:

| Sky: | clear |
| --- | --- |
| Wind: | 3-5 ms-1 |
| Temp: | -3 C |
| Snow Depth: | Variable to 2 m |
| Rime? (Y or N): | n |

NOTES:

- Up PIR dead battery (ordered);

- Platform Air temperature dead (remove, ship and replace in January);

- CR21_X system restored and online; new CR700X-1 control module ordered – to get replaced in January;

- NT modem fried – to replace soon.

- Dug out digital snow board, put up snow fencing, adjusting

- Downloaded jpg images and journals.

- Removed vaned radiation shield and Temp/RH sensor for shipment to CRREL

- Raised wind mast 0.75 m