MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2002-05-17 |
| --- | --- |
| Time: | 1100 |
| Name: | Kirchner |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | Calm |
| Temp: | N/A |
| Snow Depth: | 170 @ I beam |
| Rime? (Y or N): | N |

NOTES:

- Met with PSW researchers re. Air monitoring equipment set up on North wall of bunker.

-Turned on and adjusted power supply for CR7-2 which was off.

-Adjusted shadow band.

-Tested SC32A interface no luck connecting with a working unit, must be the NT box configuration will try connecting through modem when I get the multidrop address.