MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2002-09-12 |
| --- | --- |
| Time: | 1242 DST |
| Name: | Bryan Harrington/ Jesse Stanley |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | .2 m/s |
| Temp: | 15 C |
| Snow Depth: | NA |
| Rime? (Y or N): | N |

NOTES: Changed the battery in the PIR radiometer. We rejuvenated the desiccant in all radiometers, calibrated the Belfort Rain gauge, and then changed the program for the CR7-2 to incorporate the new calibration factor.

We corrected documentation to Mamwinds.csi program to reflect the battery voltage measurement.