MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2002-09-14 |
| --- | --- |
| Time: | 1600 DST |
| Name: | Bryan Harrington/ Jesse Stanley/ Michael Colee |

# CONDITIONS:

| Sky: | Overcast |
| --- | --- |
| Wind: | Light |
| Temp: | 60 F |
| Snow Depth: | NA |
| Rime? (Y or N): | N |

NOTES: Cleaned all collection bins for melt water runoff, blew out the PVC piping that goes into the annex. We went over all the instrumentation at the site with Michael Colee. Sent back the UPS that belongs to UCSB with Michael.

The battery that was in the UPS was removed and is going to be wired into the Snowmon data logger (21X), soil moisture, and CR7_1. This is an attempt to prevent the snowmon system from losing power during a power outage. I spent time with Jesse going over the snowmon system so that he can understand the principle of operation and the DCF program which is running in the 21X.