MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2002-9-16 |
| --- | --- |
| Time: | 1600 DST |
| Name: | Bryan Harrington/ Jesse Stanley/John Fiori |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | Slight wind |
| Temp: | 50 F |
| Snow Depth: | NA |
| Rime? (Y or N): | N |

NOTES: We installed the first battery charger/conditioner and deep cycle batteries to be used for backup power for the CR7 data loggers. We setup the UPS for the computer, monitor, printer, Agilent power supply and the network Hub. Jesse mounted the MD-9 and  PS512M on the wall to neaten up the bench for more room.

John setup the computer system, installed software and tested. He also setup the Axis camera system and collected some images.

Jesse wired and checked out the replacement snow depth sensors and marked them as such. We are shipping back to CRREL two snow depth sensors for repair and to be returned later.

I removed the snow pillow for shipment back to CRREL. I updated the .doc files as the computer has been down for a few days.