MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | Dec. 4, 2002 |
| --- | --- |
| Time: | 1200 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | 1.1 m/s |
| Temp: | 4C |
| Snow Depth: | 64 cm on IBeam |
| Rime? (Y or N): |  |

NOTES:

Adjusted shadowband. Spoke with Bryan re: loggers and sensor operation.

Reset time on the 21X logger, off by 3 hours. Checked precip gauge for level and ice. Need to change glycol before the next significant storm.

Disconnected 12V wire and Bryan discovered that there was no downloading of the backup program for 21X. Will attempt to download from CRREL.