MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 1999-10-26 |
| --- | --- |
| Time: | 1307h (PDT) |
| Name: | Tom Painter |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | Strong gusty – at times still |
| Temp: |  |
| Snow Depth: | 0 |
| Rime? (Y or N): | N |

NOTES:

Rick Kattelmann and I finished covering ground level gamma SWE unit, bringing cable in through south bunker wall port – it is duct-taped to the wall above the phone lines and labeled.  Buried gamma SWE unit cable and PVC pipe from south lysimeters.  The gamma SWE unit head is exposed at the surface.  A dog came by today and almost pissed on it.

We mounted the platform level gamma SWE unit to the north rail of platform, a few inches east of the bunker tube.  Drilled out the cable elbow to accommodate SWE unit cable and ran cable down tube into bunker.  Extra cable is coiled and hanging next to ladder.  Fiori and Harrington (CRREL) will do the wiring of the gamma SWE units when they come in December.

Dismantled old abandoned rain gauge from the north rail of platform.

I fixed the radiometer camera program.  It now acquires images only between 5am and 7pm.

Adjusted shadowband to fully shadow pyranometer with buffer for some days – it appears that there may have been direct beam onto the pyranometer over the last couple of days.