MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2000-12-12 |
| --- | --- |
| Time: | 1206 |
| Name: | Bert Davis and Walter Rosenthal |

# CONDITIONS:

| Sky: | overcast |
| --- | --- |
| Wind: | 0-3 m/s |
| Temp: |  |
| Snow Depth: | 0.63 m -- 0.13 m new |
| Rime? (Y or N): | N |

NOTES:  Connected new 6-pin plugs for snow-pillow(board), assembled snow board, applied power.

Replaced precip gage:  CRREL BC 26046 removed;  CRREL BC 21680 installed.