MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2000-12-13 |
| --- | --- |
| Time: | 1036 |
| Name: | Bert Davis |

# CONDITIONS:

| Sky: | Partly cloudy |
| --- | --- |
| Wind: | 3-8 m/s |
| Temp: | -11C |
| Snow Depth: | 0.70 m |
| Rime? (Y or N): | N |

NOTES:

Blowing snow, checked final program elements on CR7_2.  Printed programs for CR7_1 and CR7_2 and put in notebook.  Printed new wiring diagram for all wiring containing a depth sensor (wind mast, I beam, platform and snow board).  Measured snow depth under I beam and platform sensors – changed offsets ~ 1030-1200 timeframe.  Measured height of snow depth sensor on wind mast – changed offset there as well.  Snow pillow (3-SWE sensor) will have measurements recorded as raw mV and new snow board (1-SWE sensor) will have measurements recorded as raw V – all for offline processing).

Took photos of instruments.