MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | Apr. 21, 2001 |
| --- | --- |
| Time: | 1300 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Mostly cloudy |
| --- | --- |
| Wind: | 2-3m/s, 275-315 |
| Temp: | -4C |
| Snow Depth: | 280 |
| Rime? (Y or N): | N |

NOTES: measured boards, raised wind mast 30 cm. Adjusted shadowband.

Digi board: 60, 9.2

North board: 35, 5.8

East board: 51, 7.3