MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 8/25/2001 |
| --- | --- |
| Time: | 1400 |
| Name: | Bryan Harrington |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | Calm |
| Temp: | 20.1 C |
| Snow Depth: | 0 |
| Rime? (Y or N): | N |

NOTES:

Went to see Dan Dawson this morning about Scott coming up to cut the steel plate for the rain gauge opening. Yesterday Dan thought that I could remove that plate so we left it that I would get back to him if I couldn’t. Mr. Dawson and Scott were not around.

Calibrated the rain gauge and set it up on the platform. I’ve brought and left a set of rain gauge calibration weights under the bench. Broke a retainer clip in the gauge will try to replace.

Mounted the Snowmon to the platform and ran the cable.