MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 09/03/2001 |
| --- | --- |
| Time: | 1200 DST |
| Name: | Bryan Harrington |

# CONDITIONS:

| Sky: | Light cirrus |
| --- | --- |
| Wind: | Calm |
| Temp: | 16 C |
| Snow Depth: | 0 |
| Rime? (Y or N): | N |

NOTES:

Put water in the rain gauge at about 0920 hrs., reading before .9 mm reading after 22 mm.

Leaving the water in the gauge, if no rain falls should see the evaporation rate.

Updated the logbook with the system programs that are presently in the data loggers.

Took the control port wires from the soil moisture probes and attached them to +14 VDC power supply (AGILENTE3632A). The power supply current output rose from .13 A to

.427 A. I did not remove the control port statements in the program that measures the soil moisture gauges (CR7_2, Table 2). Also found that the soil moisture multiplier in the function that measures these gauge was wrong. It was 1.0 and should have been .001. After making the above changes to the soil moisture gauges the outputs in location 40-43

appear to be correct.

Measured the railing diameter and the spacing between the rails.

Changed some wire diagrams this morning.