MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished, save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2002-01-24 |
| --- | --- |
| Time: | 1230 |
| Name: | Kirchner |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | Logger down |
| Temp: | -5C |
| Snow Depth: | 266 on I beam |
| Rime? (Y or N): | N |

NOTES:

-Started TFPT and set on automatic

-Checked RAS for startup, affirmative

-Set shadow band, although it does not seem to shade sensor at recommended setting.

-Reset *B 07 back 00 from .03 on data logger as per instructions.