MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2002-03-01 |
| --- | --- |
| Time: | 1430 |
| Name: | Kirchner |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | 1 m/s |
| Temp: | 1.2 C |
| Snow Depth: | 244 I beam |
| Rime? (Y or N): | N |

NOTES:

-Power supply was off when I arrived, rebooted.

-Adjusted shadow band.

-Checked to see if temp humidity sensors, which I installed ;last time, was working properly.