MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2002-05-04 |
| --- | --- |
| Time: | 1500 |
| Name: | Kirchner |

# CONDITIONS:

| Sky: | 50% cloud cover |
| --- | --- |
| Wind: | 8 m/s |
| Temp: | 7 C |
| Snow Depth: | 232 cm |
| Rime? (Y or N): | N |

NOTES:

- Removed temp/hum sensor to return to Crrel.

- Started RAS.

- Adjusted shadow band.

- Cleaned and measured snow boards;

Digi board 12cm 5.0 SWE

North board 17cm 6.1 SWE

East board 12cm 4.8 SWE