MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 2002-09-15 |
| --- | --- |
| Time: | 1200 DST |
| Name: | Bryan Harrington/ Jesse Stanley |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | Slight wind |
| Temp: | 60 F |
| Snow Depth: | NA |
| Rime? (Y or N): | N |

NOTES: We changed out the 720 I/O module and the Analog Interface in CR7_1 as we saw a loss of data in the data file. We talked this over with John Fiori before doing so. We also talked to John about power distribution to the data loggers and the suggestion was to buy 2 battery charger/conditioners for the deep cycle batteries used for backup power to the data loggers and a UPS to back up the power for the computer, Agilent power supply, monitor, printer and the network Hub.

We went over all the wiring and wiring diagrams at the site for the Campbell data loggers to be sure that Jesse is getting a feel for the site, which he is.

We created power point slides for the Agilent power supply, HP power supply and the snow melt runoff collectors.

We returned the air compressor and vacuum cleaner to SNARL.

I worked with Jesse on the Snowmon instrumentation and program. Downloaded the Snowmon storage module and corrected the program that is stored in location 8. Program change is to include the year and date in the time function , was

(P77, 20) changed to (P77, 1220).