MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | Feb. 3, 2003 |
| --- | --- |
| Time: | 1000 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | 3m/s upper |
| Temp: | -3C |
| Snow Depth: | 233 I beam |
| Rime? (Y or N): | N |

NOTES: measured and reset snow board. 5 cm of new, mostly graupel. .7 cm swe.

Dug out digi board and cut a wire. Need to repair on Wednesday. Still looking for Propylene glycol, both here and in auto parts. May have to go with regular antifreeze, ethylene.

Adjusted shadowband- what a screwy setup. In order for the radiometer to be shaded, the arms have to be tightened outside the guides.

Also checked lower propeller. I may have tightened it too much, wind speeds have been very low compared to past measurements.

Need to buy some cord to string up around site, but until I get paid, it ain’t happening.