MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | Apr 9, 2003 |
| --- | --- |
| Time: | 1400 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | 6 m/s |
| Temp: | 6C |
| Snow Depth: | 302 |
| Rime? (Y or N): | N |

NOTES: Came to site to check on PC. Power was off on PC and battery pack. Turned things on. Adjusted Tom’s shadowband and inserted key into wind mast which inexplicably had been pulled out.