MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | Dec31, 2003 |
| --- | --- |
| Time: | 1300 |
|  | Sue Burak |

# CONDITIONS:

| Sky: | Obscured, blowing and fog |
| --- | --- |
| Wind: | 9 m/s |
| Temp: | -7.7C |
| Snow Depth: | Ibeam, 297 cm |
| Rime? (Y or N): | verglas |

NOTES: Nasty weather. Verglas on all radiometers and shadowband. Platform is covered with ice. Cleaned off and reset snow boards; 375 kg/m^3 SLAB at 30 cm down.

North board: 22, 2.8 cm swe

SE board: 62, 11.2 cm swe

Wind mast board: 70, 10.4 cm swe.

Chipped off as much ice as I could. Power cable to shadowband was torn off by wind and load of compacted snow on cable. Reinstalled, but may have to wait for better conditions to repair.