MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | Apr. 13, 2004 |
| --- | --- |
| Time: | 1200 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Cumulus, partly cloudy |
| --- | --- |
| Wind: | 3 m/s |
| Temp: | 0C |
| Snow Depth: | 299 cm |
| Rime? (Y or N): | N |

NOTES: adjusted shadowband- the tray setting of 9.5 seems to be working well. Diffuse is 50% of SWIN.

Tightened bolts on wind mast- mast had shifted position.

Mt. Rose measurements:

North board: 189cm, 85 cm swe

I beam; multiple samples required. 308, 142 cm swe

Boom: 302, 140 cm swe.

Difficult sampling due to numerous ice lenses and dense layers from Jan/Feb.