MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | May 4, 2004 |
| --- | --- |
| Time: | 1030 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | 5 m/s |
| Temp: | +10C |
| Snow Depth: | 244 cm I beam |
| Rime? (Y or N): | N |

NOTES:  MTC found “manual” for the shadowband. Adjusted according to instructions and the radiometer was not shielded. Adjusted tray to +16 and solar declination to 16.5. Reset bamboo. SCA is decreasing with rocks exposed in the NW quad. Stakes from December now appearing. Floor of bunker is wet with all buckets tipping.