MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | Mar. 18, 2004 |
| --- | --- |
| Time: | 1130 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Mostly clear with lenticulars |
| --- | --- |
| Wind: | 5 m/s |
| Temp: | +7C |
| Snow Depth: | 335 cm I beam |
| Rime? (Y or N): | N |

NOTES: Diffuse radiometer back on line. Put up Bamboo and perimeter rope- need another 200 ft. Tighten boom wires, really need another person to get max tightening.

Mt. Rose- horrible sampling. Layers at 56’, 77” then 5-10 cm above ground. Facets in transition seen at base of pack.

I Beam: Mt. Rose; 347 cm. , 167cm Swe. This number is adjusted SWE, 20% of 82 in. EThis was done because I had to take 5 samples to get to ground.

Boom: 342 cm, 155 cm swe. Again, adjusted 76 in swe from 4x sampling, to get 61 in swe.

Brought in second lamp.