MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | Apr. 7, 2004 |
| --- | --- |
| Time: | 1200 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Partly cloudy |
| --- | --- |
| Wind: | 2 m/s |
| Temp: | +4C |
| Snow Depth: | 318 cm |
| Rime? (Y or N): | n |

NOTES: Changed mercury battery on LW pyranometer with a battery from a PSP Eppley here in the bunker. Hope it works.

Moved the tray from position of 4 to 15 so the diffuse radiometer is now shielded. Hope this works. The previous adjustments did not shield at all.