MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | Feb. 20, 2005 |
| --- | --- |
| Time: | 0900 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Obscured, fog |
| --- | --- |
| Wind: | Calm |
| Temp: | -5.6C |
| Snow Depth: | 487 cm |
| Rime? (Y or N): | Y |

NOTES: Site buried with 50 cm new over the past couple of days. Hard to see anything. Holiday crowds non existent. Radiometers iced over with caps of snow, snow inside all snow depth sensors with ice on inside frozen to the sensor.

New snow:

North board: 25 cm, 3 cm SWE

SE Board: 36 cm, 3.8 cm SW

Wind Mast :25 cm. 2.7 cm SWE