MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | March 26, 2005 |
| --- | --- |
| Time: | 10:30-12:30 |
| Name: | Colee |

# CONDITIONS:

| Sky: | Slightly overcast. |
| --- | --- |
| Wind: | Calm |
| Temp: | ~5C |
| Snow Depth: | 500 cm |
| Rime? (Y or N): | N |

NOTES: Dug out the Ibeam sensors cuz the support was starting to sag w/ the snow, it popped up about 10cm so we need to keep an eye on it.  The little pyramid on top of the unit also came off so we’ll need to epoxy it back on when possible.  I fixed the cron entry that archives the daily journals and images, it was using the windbloz version of find.  I initially came up to re-plumb the N lysimeter drain pan but it looks like a larger chore than I’ve got time for and it will be much easier when the snow has melted out so that I can get access the area behind the benches to run the new drain.  I’m planning on running it along the North and then West walls down to the drain.  I also hadn’t realized that the tipping-bucket enclosure was built in place so I’d like to attack this chore when I’m not limited on time cuz this could take a full day or two and I don’t want to leave things partially dismantled.