MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | April 14, 2005 |
| --- | --- |
| Time: | 1000 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Clear |
| --- | --- |
| Wind: | 3 m/s |
| Temp: | 1.5C |
| Snow Depth: | 500 cm + |
| Rime? (Y or N): | N |

NOTES: dug out I beam again. Tightened supporting wire for the I Beam extension. Snow depth sensor now working. Tightened the wire at the datalogger.

Adjust shadowband. Change glycol and reset offset at logger.