MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | 3-23-2006 |
| --- | --- |
| Time: | 9:20am |
| Name: | Michael Colee |

# CONDITIONS:

| Sky: | Slightly cloudy |
| --- | --- |
| Wind: | Minimal |
| Temp: | 30’s |
| Snow Depth: | Deep |
| Rime? (Y or N): | N |

NOTES:  Came to scope out the power issues we’ve been having.  I re-set one of the breakers in the service panel (the left 30amp one) and all seems to be fine now.  It was loose and crackling.  Hopefully this was the issue and we’ll be good to go now.  I’ll check back later today and over the next several days.

Also rebooted computer cuz it was hung.

Just took my first turns on a new ACL.  Bit timid but feels ok so far.

mtc