MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | August 6 2006 |
| --- | --- |
| Time: | All Day |
| Name: | Jesse Stanley / Mike Colee |

# CONDITIONS:

| Sky: | Clear mostly |
| --- | --- |
| Wind: | Slight |
| Temp: | 9C |
| Snow Depth: | NA |
| Rime? (Y or N): | N |

NOTES:

I-Beam depth sensor Boom modified and installed. Changed to 3 x 2 x 1/4 inch wall square tubing, approximately 12 feet long. Hinged at I-Beam on a single ¾ inch  bolt pulley placed at top, and hand winch clamped lower to raise oand lower boom for sensor work.

Pulled wind mast and laid across rail to change lower wind head and depth sensor, also cleaned mast and put washers under some bolts that were deep enough to interfere with raising and lowering the mast. Re-assembled.

ALERT :  Flag data for wind speeds and direction for most of this day as faulty.