MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | August 8, 2006 |
| --- | --- |
| Time: | All day |
| Name: | Jesse Stanley |

# CONDITIONS:

| Sky: | clear |
| --- | --- |
| Wind: | Gusty today |
| Temp: | 9C |
| Snow Depth: | none |
| Rime? (Y or N): | N |

NOTES:

Finished wiring all sensors to platform boom except the Exergen; waiting for wire and connectors. Changed constants in program and looked at data to ensure it is reasonable. (Compared against uplooking)

Changed up looking PSP’s and PIR. Checked out upper wind head, reasonably new bearings OK, so didn’t change it. Left new one in bunker for spare.

Had Sue level I-Beam boom ( I had it too high), and observed we need to re-adjust stop and tighten. Power went off at 1045 was off all day.

Jeff D. showed up and checked out which lysimeters went to which tipping buckets. Informed me that Big lysimeter did not appear to drain, plugged?

CR7X2 lost its program, keyed back in by hand. (This happened once before over the season to Sue and I  re-loaded from CRREL. )

Changed RH probe and checked data.

Sue and I pushed platform boom out to it’s range and clamped with a hose clamp and rope, until install of rollers. Also need it in position to check depth sensor.