MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | August 9, 2006 |
| --- | --- |
| Time: | All day |
| Name: | Jesse Stanley |

# CONDITIONS:

| Sky: | clear |
| --- | --- |
| Wind: | Breezy but not bad |
| Temp: | 10-12C |
| Snow Depth: | none |
| Rime? (Y or N): | N |

NOTES:

On my way in about 7:30 I ran into the guys working on power. They said it could be turned on and politely did so about an hour later. Busied myself adding connectors to spare snow depth sensors, and setting up to re-install CR7X2 program again as it lost it overnight. I am wondering if this is related to not having power. The unusal thing is though that it is powered up still, but loses it program?. Also may be that it tries to communicate out SDM port to an unpowered device? Maybe? Will require some research on my part.

Connected laptop, updated and restored program to CR7X2, printed out new copies of program for book, showing new constants, left old ones in as there are pencil notes that may prove valuable yet.