MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | April 24, 2006 |
| --- | --- |
| Time: | 1100 |
| Name: | Sue Burak |

# CONDITIONS:

| Sky: | Partly cloudy, cumulus |
| --- | --- |
| Wind: | Calm |
| Temp: | +3C |
| Snow Depth: | 464 windmast |
| Rime? (Y or N): | N |

NOTES: Dug out I beam and boom today. I beam was under 180 cm, boom was under 80 cm. Instruments fine, but boom support is twisted from snow load. Pulled support back about a meter onto the platform and secured. Set up a temporary support system using the guy wires for the boom.

Ibeam steel plate is bent.  Adjust shadowband.