MAMMOTH MTN. MET STATION

Daily Journal

*NOTE:   When finished,  save document as YYYY-MM-DD (eg,. 1999-09-17), then print document and put it in “Daily Journal” section of MMSA Met Site notebook.

| Date: | August 10, 2006 |
| --- | --- |
| Time: | All day |
| Name: | Jesse Stanley? Sue Burak |

# CONDITIONS:

| Sky: | clear |
| --- | --- |
| Wind: | Breezy really gusty at times |
| Temp: | 10-12C |
| Snow Depth: | none |
| Rime? (Y or N): | N |

NOTES:

We checked out all instruments one more time to verify reasonable data. We also looked into lower wind direction measurement. Did not appear to be working, changed wind head. There seems to be two versions of wind heads. One is compatible with wiring diagram, one is not.  Will sort this out back at CRREL, but have two working, of same style, and compatible with wiring diagram at site.

Showed Sue new Platform Boom, and verified she was able to withdraw it and extend it alone. We discussed using a strap at the south end as a precaution against really high winds, she will install before winter.

Installed and wired the snow pillows, at least the outside half. Snow Pillow 1 is “portable” version that gets lifted each event. Snow Pillow 2 is to be installed level with the surface, and should have insulation around the edges, to help prevent edge effects according to Art Gelvin. No insulation here that seems suitable so need to get this on todo list.